2014-15

| JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY, HYDERABAD II Year, B. Tech. EEE-II Semester (A40212)ELECTRICAL MACHINES – II Short Answer Questions. |  |
| --- | --- |
|  | UNIT-I: Single Phase Transformers-Construction, Operation & Performance |
| 01 | Explain the principle of operation of a Single phase transformer. |
| 02 | What are the types of transformers? |
| 03 | Explain the Constructional details of a large transformer with respect to the core. |
| 04 | Explain the Constructional details of a large transformer with respect to the winding. |
| 05 | What are the measures adopted to minimize the hysteresis losses? |
| 06 | What are the measures adopted to minimize the eddy current losses? |
| 07 | Derive e.m.f. equation. |
| 08 | Explain the transformer operation on no-load. |
| 09 | Explain the transformer operation on on-load. |
| 10 | Draw the phasor diagrams for a transformer on lagging loads. |
| 11 | Draw the phasor diagrams for a transformer on leading loads. |
| 12 | Draw the phasor diagrams for a transformer on UPF loads. |
| 13 | Draw the equivalent circuit of a transformer. |
| 14 | Mention the different losses in a transformer. |
| 15 | Derive the condition for the maximum efficiency of a transformer. |
| 16 | Define regulation of a transformer. |
| 17 | What is all day efficiency of a transformer? |
| 18 | What is commercial efficiency of a transformer? |
| 19 | Explain the effect of variation of frequency on iron losses of transformer. |
| 20 | Explain the effect of variation of voltage on iron losses of transformer. |
|  | UNIT-II: Testing of Single Phase Transformer |
| 21 | Explain OC test and its purpose. |
| 22 | Explain SC test and its purpose. |
| 23 | Explain Sumpner’s test and its purpose. |
| 24 | How do you predetermine the efficiency after conducting relevant tests? |
| 25 | How do you predetermine the regulation after conducting relevant tests? |
| 26 | Describe the test for the separation of iron losses. |
| 27 | How is the load shared by 2 transformers in parallel operation with equal voltage ratio and equal impedances? |
| 28 | How is the load shared by 2 transformers in parallel operation with equal voltage ratio and unequal impedances? |
| 29 | How is the load shared by 2 transformers in parallel with unequal voltage ratio and equal impedances? |
| 30 | How isthe load shared by 2 transformers in parallel with unequal voltage ratio unequal impedances? |
|  | UNIT-III: Auto & Poly Phase Transformers |
| 31 | What is autotransformer? Draw its equivalent circuit. |
| 32 | Compare auto transformer with two winding transformer. |
| 33 | Explain the different types of connections for 3 phase transformers & their applications. |
| 34 | Explain Y/Y three phase transformer along with circuits & phaser diagrams. |
| 35 | Explain Y/D three phase transformer along with circuits & phaser diagrams. |
| 36 | Explain D/Y three phase transformer along with circuits & phaser diagrams. |
| 37 | Explain D/D three phase transformer along with circuits & phaser diagrams. |
| 38 | Explain V/V (Open D) three phase transformer along with circuits & phaser diagrams. |
| 39 | How are the third harmonics generated in phase voltages of a transformer? |
| 40 | What is a three winding transformer? |
| 41 | What are the uses of tertiary windings? |
| 42 | How do we determine Zp, Zs and Zt of a 3 winding transformer? |
| 43 | Explain transients-in-switching. |
| 44 | Write a brief note on Off-load tap changers. |
| 45 | Write a brief note on On-load tap changers. |
| 46 | Explain Scott connection for phase conversion. |
|  | Unit-IV: Polyphase Induction Motors & their characteristics |
| 47 | Explain about Polyphase Induction Motors. |
| 48 | What are the construction details of cage machines? |
| 49 | What are the construction details of wound rotor machines? |
| 50 | How is the rotating magnetic field produced in 3 phase induction motor? Explain. |
| 51 | Show that the resultant rotating field is 1.5 times the field created by each phase |
| 52 | What is the principle of operation of 3 phase induction motor? |
| 53 | Why is the rotor e.m.f different from that of stator? |
| 54 | Why is the rotor frequency different from that of stator? |
| 55 | Write expression for rotor reactanceat standstill. Justify |
| 56 | Write expression for rotor current at standstill. Justify |
| 57 | Write expression for rotor p.f. at standstill. Justify |
| 58 | Write expression for rotor reactance during operation. Justify |
| 59 | Write expression for rotor current during operation. Justify |
| 60 | Write expressionfor rotor p.f. during operation. Justify |
| 61 | Write expressions for rotor power input, rotor copper loss and mention their inter relation. |
| 62 | Write expressions for rotor rotor copper loss and mechanical power developed and mention their inter relation. |
| 63 | Write expressions for rotor power input and mechanical power developed and mention their inter relation. |
| 64 | What is stator efficiency of an I.M.? |
| 65 | What is rotor efficiency of an I.M.? |
| 66 | What is overall efficiency of an I.M.? |
| 67 | Derive torque equation for an induction motor. |
| 68 | What are the deductions from torque equation for small slips? |
| 69 | What are the deductions from torque equation for large slips? |
| 70 | Find expressions for maximum torque and starting torque and their ratio. |
| 71 | Find expressions for maximum torque and full load torque and their ratio. |
| 72 | Find expressions for starting torque and full load torque and their ratio. |
| 73 | Draw and explain the torque slip characteristic of I.M. for motoring operations. |
| 74 | Draw and explain the torque slip characteristic of I.M. for generating operations. |
| 75 | Draw and explain the torque slip characteristic of I.M. for braking operations. |
| 76 | Explain about the double cage rotors. |
| 77 | Explain about the deep bar rotors. |
| 78 | Draw the equivalent circuit an I.M. |
| 79 | Draw the phasor diagram for an I.M. |
| 80 | Explain Crawling. |
| 81 | Explain Cogging. |
|  | UNIT-V: Circle Diagram Speed Control of Induction Motors |
| 82 | Draw the circle diagram and explain. |
| 83 | Describe the no-load test and their use. |
| 84 | Describe the blocked rotor test and their use. |
| 85 | How do you predetermine the performance of I.M. using the test data? |
| 86 | How do you predetermine the performance of I.M. using the circle diagram? |
| 87 | What are the different methods of starting I.M.? |
| 88 | Explain starting of induction motor using Star/Delta starter. |
| 89 | Explain starting of induction motor using autotransformer starter. |
| 90 | Explain starting of induction motor using DOL starter. |
| 91 | Explain starting of induction motor using rotor resistance starter. |
| 92 | Draw the equivalent circuits of induction motor and transformer and compare them. |
| 93 | Compare the starting current and torque in different methods of starting of I.M. |
| 94 | What are the different methods of Speed Control? |
| 95 | Explain speed control by change of frequency. |
| 96 | Explain speed control by change of poles / voltage. |
| 97 | Explain speed control by methods of consequent poles. |
| 98 | Explain speed control by cascade connection. |
| 99 | Explain speed control by injection of an emf into rotor circuit (qualitative treatment only) |
| 100 | What is an induction generator? |
| 101 | Explain the principle of operation of induction generator. |

2014-15

| JAWAHARLAL NEHRU TECHNOLOGICAL UNIVERSITY, HYDERABAD II Year, B. Tech. EEE-II Semester (A40212)ELECTRICAL MACHINES – II Long answer Questions. |  |
| --- | --- |
|  | UNIT-I: Single Phase Transformers-Construction, Operation & Performance |
| 01 | Explain the principle of operation of a Single phase transformer. |
| 02 | What are the types of transformers? |
| 03 | Explain the Constructional details of a large transformer. |
| 04 | What are the measures adopted to minimize the hysteresis and eddy current losses? |
| 05 | Derive e.m.f. equation. |
| 06 | Explain the transformer operation on no-load and on-load. |
| 07 | Draw the phasor diagrams for a transformer on lagging, leading & UPF loads. |
| 08 | Draw the equivalent circuit of a transformer. |
| 09 | Mention the different losses in a transformer & derive condition for maximum efficiency. |
| 10 | Define regulation of a transformer. |
| 11 | What is all day efficiency of a transformer? |
| 12 | Explain the effect of variation of frequency & voltage on iron losses of transformer. |
|  | UNIT-II: Testing of Single Phase Transformer |
| 13 | Explain OC and SC tests and their purpose. |
| 14 | Explain Sumpner’s test and its purpose. |
| 15 | How do you predetermine the efficiency and regulation after conducting relevant tests? |
| 16 | Describe the test for the separation of iron losses. |
| 17 | How is the load shared by 2 transformers in parallel operation with equal voltage ratio? |
| 18 | How is the load shared by 2 transformers in parallel with unequal voltage ratio? |
|  | UNIT-III: Auto & Poly Phase Transformers |
| 19 | What is autotransformer? Draw its equivalent circuit. Compare it with two winding transformer. |
| 20 | Explain the different types of connections for 3 phase transformers & their applications. |
| 21 | Explain Y/Y three phase transformer along with circuits & phaser diagrams. |
| 22 | Explain Y/D three phase transformer along with circuits & phaser diagrams. |
| 23 | Explain D/Y three phase transformer along with circuits & phaser diagrams. |
| 24 | Explain D/D three phase transformer along with circuits & phaser diagrams. |
| 25 | Explain V/V (Open D) three phase transformer along with circuits & phaser diagrams. |
| 26 | How are the third harmonics generated in phase voltages of a transformer? |
| 27 | What is a three winding transformer? |
| 28 | What are the uses of tertiary windings? |
| 29 | How do we determine Zp, Zs and Zt of a 3 winding transformer? |
| 30 | Explain transients-in-switching. |
| 31 | Write a brief note on Off-load and On-load tap changers. |
| 32 | Explain Scott connection for phase conversion. |
|  | Unit-IV: Polyphase Induction Motors & their characteristics |
| 33 | Explain about Polyphase Induction Motors. |
| 34 | What are the construction details of cage and wound rotor machines? |
| 35 | How is the rotating magnetic field produced in 3 phase induction motor? Explain. |
| 36 | What is the principle of operation of 3 phase induction motor? |
| 37 | Why are the rotor e.m.f and the rotor frequency different from those of stator? |
| 38 | Write expressions for rotor reactance, rotor current and p.f. at standstill. |
| 39 | Write expressions for rotor reactance, rotor current and p.f. during operation. |
| 40 | Write expressions for rotor power input, rotor copper loss and mechanical power developed and mention their inter relation. |
| 41 | Derive torque equation for an induction motor. |
| 42 | What are the deductions from torque equation for small slips and large slips? |
| 43 | Find expressions for maximum torque and starting torque and their ratio. |
| 44 | Draw and explain the torque slip characteristic of I.M. for motoring and other operations. |
| 45 | Explain about the double cage and deep bar rotors. |
| 46 | Draw the equivalent circuit & phaser diagram for an I.M. |
| 47 | Explain Crawling and cogging. |
|  | UNIT-V: Circle Diagram Speed Control of Induction Motors |
| 48 | Draw the circle diagram and explain. |
| 49 | Describe the no-load and blocked rotor tests and their use. |
| 50 | How do you predetermine the performance of I.M. using the test data? |
| 51 | What are the different methods of starting I.M.? |
| 52 | Explain starting of induction motor using Star/Delta starter. |
| 53 | Explain starting of induction motor using autotransformer starter. |
| 54 | Explain starting of induction motor using DOL starter. |
| 55 | Explain starting of induction motor using rotor resistance starter. |
| 56 | Draw the equivalent circuits of induction motor and transformer and compare them. |
| 57 | Compare the starting current and torque in different methods of starting of I.M. |
| 58 | What are the different methods of Speed Control? |
| 58 | Explain speed control by change of frequency. |
| 60 | Explain speed control by change of poles / voltage. |
| 61 | Explain speed control by methods of consequent poles. |
| 62 | Explain speed control by cascade connection. |
| 63 | Explain speed control by injection of an emf into rotor circuit (qualitative treatment only) |
| 64 | What is an induction generator? |
| 65 | Explain the principle of operation of induction generator. |