ELECTRICAL POWER SYSTEMS-1

II YEAR EEE II SEM

QUESTION BANK

Unit-1

- Explain about Thermal power station in detail?

- Explain about economizer?

- Explain about Boiler and its types?

- Explain about super heater and its types?

- Explain about steam turbines?

- Explain about condenser and its types?

- Explain why chimney is used?

- Explain about Air pre heater?

- Explain bout cooling towers?

- Explain about Nuclear power generation?

- Explain about Nuclear fission?

- Explain about chain reaction?

- What are nuclear fuels? Explain?

- Explain about nuclear reactor?

- What is the purpose of the modulator and central rods in nuclear reactor?

- Explain bout reflectors and coolant in nuclear reactor?

- Explain types of nuclear reactors?

- Explain about shedding and safety precautions to be followed in nuclear plant?

- Explain about gas power generation?

- Explain about various components of gas power station?

Unit-II

- Compare DC and AC distribution?

- Explain classification of Distribution systems?

- Compare underground and overhead distribution system?

- Explain the requirements of Distribution systems?

- Explain the Design features of Distribution/

- Explain about Radial distribution?

- Explain about Ring main distribution?

- Explain the advantages of inter connected system?

- Derive the expression for voltage drop for radial distribution fed on end with equal voltage?

- Derive the expression for voltage drop for radial distribution fed at both ends with equal voltage?

- Derive the expression for voltage drop for radial distribution fed at both ends with unequal voltages?

- Derive the expression for voltage drop for ring main distributor equal voltage concept?

- Derive the expression for voltage drop for ring main distribution unequal volgae concept?

- Derive the expression for voltage drop in AC distributors for power factor reffered to receiving end voltage.

Unit-III

- How are substations classified?

- Explain abut indoor substations?

- Explain about outdoor substations?

- Explain about the substation equipment?

- Explain about Bus bar arrangement in substations?

- Explain about Gas insulated substations?

- What is difference between GIS and out door substations?

- Explain constructional aspects of GIS system?

- Explain about maintenance of GIS system?

- Compare GIS and out door substations?

Unit-IV

- What are the causes for low power factor?

- What are the methods for improving power factor?

- Where do we use phase advancers. Explain how they work?

- What is the most economical power factor?

- Consider a consumer taking a peak load of  P KW at a P.F cos ø1 and changed at a rate of

Rs x/KVA of MD/annum. If the consumer improves the PF to cosø2 by investing Rs. Y per KVAR/annum then what is the most economical PF?

- Write short notes on  	(1) power factor improvement by synchronous condenser.

(2) Economizes of PF improvement.

- Derive an expression for the most economical value of PF which may be attained by a consumer.

- Why voltage control is important?

- At what locations  the voltage control equipment is used?

- Write various methods used for voltage control?

- The satisfactory limit of voltage variations at the consumers terminal is----------

- Explain the method of voltage control by shunt capacitors and series capacitors?

- Seven questions given for assignment.

Unit-V

- What is variable load?

- What are the effects of variable load?

- What is load curve?

- What is connected load?

- What is maximum demand?

- What is demand factor?

- What is average load?

- What is load factor?

- What is Diversity factor?

- What is plant capacity facto?

- Define plant use factor?

- How many units are generated per annum?

- What are different types of loads?

- Explain about classification of cost of electrical energy?

- What is tariff? What are its desirable characteristics?

- What are the different types of tariff?

- Explain power factor tariff?

- Explain three part tariff?

- Explain about two part tariff?

- What is Block rate tariff?