III Year B.Tech. II-Sem		    	    	       			 L   T    P   C

3     1     0    3

ENERGY AUDITING & CONSERVATION

(Open Elective-2)

UNIT-I 	Basic Principles of Energy audit:

Energy audit-definitions, concept, types of audit, energy index, cost index, pie charts, Sankey diagrams, load profiles, Energy conservation schemes. Energy audit of industries, Energy saving potential, Energy audit of process industry, and thermal power station.

UNIT- II   	Energy Efficient Motors, Power Factor Improvement & Lighting:

Energy efficient motors, factors affecting efficiency, variable speed, variable duty cycle systems, effect of Voltage variation on motors, motor energy audit. Power factor- methods of improvement, location of capacitors, Pf with non linear loads- Good Lighting system design and practice, lighting control, lighting energy audit.

UNIT-III	Energy Efficient Buildings

Green Buildings, Intelligent Buildings, Rating of Buildings, Efficient use of Buildings, Ventilation Solar Passive Architecture. Adoption to sustainable resources such as PV modules, Solar heating, Cooling Techniques, Energy audit and conservation opportunities.

UNIT-IV Economic Aspects and Analysis:

Economics Analysis-Depreciation Methods, time value of money, rate of return, present worth method, replacement analysis, life cycle costing analysis-calculation of simple payback method, net present worth method-Applications of cycle costing analysis, return of investment.

UNIT-V 	Energy conservation opportunities:

Energy conservation checklist, Energy conservation opportunities in boilers, Heat pumps and cooling systems, chilled water Plants and Central air- conditioning systems, Water Heaters and coolers, Compressors and Fans.

Text books:

1. Energy management by W.R. Murphy AND G. McKay Butter worth, Heinemann publications.

2. Energy efficient electric motors by John .C. Andreas, Marcel Dekker Inc Ltd-2nd edition, 1995.

Reference books:

1. Energy management by Paul o’ Callaghan, Mc-Graw Hill Book company-1st edition, 1998.

2. Energy management hand book by W.C.Turner, John Wiley and sons.

3. Energy management and good lighting practice: fuel efficiency- booklet12-EEO.